## Slide 1
Sunscreens
SPF and UVAPF

## Slide 2
La radiazione UVC viene assorbita dallo strato di ozono.
La penetrazione nella pelle è maggiore per la radiazione con l maggiore.

## Slide 3
Per esposizione ai raggi UV, nella pelle hanno luogo una serie di reazioni chimiche che portano a:
la formazione della vit. D dal colesterolo
la colorazione dovuta alla formazione di melanina
eritema
cancro, per danni al DNA
i filtri solari servono in aggiunta alle difese naturali per limitare i danni causati alla pelle dalle radiazioni UV.

## Slide 4
http://www.iso.org/iso/wsd_poster_2016.pdf
The European Standardization System is unique in the world. After the publication of a European Standard, each national standards body or committee is obliged to withdraw any national standard which conflicts with the new European Standard. Hence, one European Standard becomes the national standard in all the 33 member countries of CEN and/or CENELEC.
International Standardisation Organisation (ISO)
European Standardisation Organisation (CEN)

## Slide 5
European association representing over 4000 member companies and associations of different sizes in the cosmetics and personal care industry (Italian UNIPRO included)
Cosmetics Europe Recommendation No 25:
Use of appropriate validated methods for evaluating sun product protection
Cosmetics Europe has developed test methods that can be used as standard methods to determine Sun Protection Factor, UVA-protection and water resistance
The majority of these published methods have been standardised by the International Standardisation Organisation (ISO) and published by the European Standardisation Organisation (CEN). These standard methods have been acknowledged by the European Commission as EU reference methods. The vast majority of the manufacturing companies are using these methods to qualify their products and to define the consumer information to be displayed on the label.

## Slide 6
Cosmetics Europe strongly recommends using always the methods cited below when testing SPF and UVAPF of sunscreens:
Sun Protection Factor (SPF): The Standard EN ISO 24444:2010 Cosmetics ‐ Sun protection test methods ‐ In vivo determination of the sun protection factor (SPF).
The ISO method is very similar to the 2006 Colipa method.
There is currently no in-vitro method that is proven to give reliable and meaningful test results for SPF, therefore no in vitro method should be used for consumer information purposes.
UVA protection: The Standard EN ISO 24443:2012 Cosmetics – Sun protection test methods – In vitro determination of sunscreen UVA photoprotection.
It replaces the Colipa mehod.
Cosmetics Europe Recommendation No 25:
Use of appropriate validated methods for evaluating sun product protection
ISO 24444 was prepared by Technical Committee ISO/TC 217, Cosmetics

## Slide 7: Definizioni dal: ISO 24444: cosmetics – sun protection test methods – in vivo determination of the sun protection factor (SPF). 2010
UVR: electromagnetic radiation in the range of 290 nm to 400 nm
UVB 290-320 nm
UVA 320-400 nm
erythema reddening of the skin caused by UV radiation
minimal erythemal dose MED: lowest dose of ultraviolet radiation (UVR) that produces the first perceptible unambiguous erythema with defined borders appearing over most of the field of UV exposure, 16 h to 24 h after UV exposure
MEDu MED on unprotected skin
MEDp MED on product protected skin
individual sun protection factor SPFi: ratio of the minimal erythemal dose on product protected skin (MEDp) to the minimal erythemal dose on unprotected skin (MEDu) of the same subject

## Slide 8
test in vivo
sun protection factor of a product SPF
arithmetic mean of all valid individual SPFi values obtained from all subjects in the test
Solar simulator
The degree of protection should be measured using standardised, reproducible testing methods and take photo-degradation into account
preparazione cosmetica in quantità di 2 mg/cm2.
SPF in vitro < label SPF owing to the presence of ingredients with anti-inflammatory properties (e.g. allantoin), some sunscreens included
Arch Dermatol Res (2012) 304:817–821 DOI 10.1007/s00403-012-1257-x

## Slide 9
UVA Protection Factor means the ratio of the minimum UVA dose necessary to induce a Persistent Pigment Darkening on the skin protected by a sunscreen product to the minimal UVA dose necessary to induce the minimal darkening effect on the same unprotected skin
Sunscreen products should protect against both UVB and UVA radiation
Preference should be given to in vitro testing methods.
Valori minimi:
UVB protection of sun protection factor 6
UVA protection factor of 1/3 of the sun protection factor, as obtained in application of the persistent pigment darkening method

## Slide 11: Filtri solari
I filtri UV contengono cromofori che assorbono nell’UV accoppiati con un sistema che permetta la dissipazione dell’energia assorbita nell’UV mediante energia vibrazionale, cioè senza emissione nel visibile o nell’UV e senza andare incontro a reazione chimica (fotostabilità)
Ci sono anche dei sunblocks che dovrebbero assorbire tutta la radiazione UV prima che essa raggiunga la pelle. Essi tendono a riflettere tutta la radiazione visibile, cosicché appaiono bianchi. I più comuni sono a base di ZnO o TiO2.

## Slide 12
Filtri solari si possono classificare in:
filtri UVA
filtri UVB
filtri sia UVB che UVA
La maggior parte delle formulazioni contiene combinazioni di molecole che assorbono UVB con molecole che assorbono nell’UVA e/o assorbitori UVAB.
Bisogna usare delle associazioni anche perché ci sono delle concentrazioni massime per ciascuna molecola

## Slide 13: Molecole molto usate nei cosmetici solari
Parsol MCX
octinoxato
filtro UVB
Liquido, solubile in etanolo ed in lipidi, insolubile in acqua
filtro UVA
1-(4-metossifenil)-3-(4-ter-butilfenil)propan-1,3-dione
verranno registrati gli spettri UV in acqua-propanolo (1:9 v/v)
solido
Parsol 1789
avobenzone

## Slide 14: Relazione lineare tra log(SPF) ed assorbanza
SPF inversamente proporzionale a T
T= I/I0
SPF= a/T
passando al logaritmo:
log(SPF)= log(a)-log(T)
log(SPF)= log(a)+A
Quindi una relazione lineare tra log(SPF) e A è plausibile.

## Slide 15: Determinazione di SPF in vitro
I test in vitro della Cosmetics Europe prendono in considerazione, per la determinazione dell’SPF
le assorbanze a tutte le lunghezze d’onda nell’intervallo 290-400 nm, (per un campione ottenuto da 100 mg di latte solare)
e le pesa con la capacità di indurre eritema E(l)
e l’intensità della radiazione dello spettro solare I(l)
k= 1.098
costante vicina a 1, ricavata da preparazione standard
In pratica:
NB: S è lo stesso di I

## Slide 16
Determinazione di SPF in vitro

## Slide 17: Determinazione di SPF in vitro
esempio: spettro in assorbanza della soluzione ottenuta da 100 mg della crema Bilboa

## Slide 18: Determinazione di SPF in vitro
l’SPF è il rapporto tra l’area sotto la curva blu (funzione al numeratore) e quella sotto la curva rosa (funzione al denominatore)

## Slide 19: Determinazione di UVAPF0 in vitro
per la determinazione del UVAPF0 (fattore di protezione nei confronti degli UVA),
le assorbanze a tutte le lunghezze d’onda nell’intervallo 320-400 nm,
pesate per la capacità di dare pigmentazione permanente P(l)
e l’intensità dello spettro solare I(l) nell’UVA
si usa il valore di k ricavato in precedenza

## Slide 20
Determinazione di UVAPF0 in vitro
NB i valori di I(l) nell’UVA sono 1000 volte più piccoli del I(l) dell’UV globale