## Slide 1
Seismometers
2 types of seismic sensors: Extensometers and inclinometers. Measure the relative motion of a point with respect to a second point Inertial. Measure the motion of the ground relative to a suspended mass
Notes: 1

## Slide 3
Clinometers
SBP
LBP
Grotta Gigante pendulums

## Slide 4
Clinometers
SBP

## Slide 5
Clinometers

## Slide 6
Clinometers

## Slide 7
Clinometers

## Slide 8
Grotta Gigante Pendulums
LBP

## Slide 9
Grotta Gigante Pendulums

## Slide 10
Esempio di registrazioni LBP.
Sono visibili: effetti annuali (effetti termoelastici degli strati della crosta superiore); la marea; alcuni effetti dovuti alle piene del fiume sotterraneo Timavo.
Example of LBP recordings
Are visible: the annual effects (thermoelastic effects of the layers of the upper crust); the tide; some effects due to the flooding of the underground river.

## Slide 11
LBP – Grotta Gigante
SBP – Grotta di Villanova
LBP – Grotta Gigante
SBP – Grotta di Villanova

## Slide 12
2 types of seismic sensors: Extensometers and inclinometers. Measure the relative motion of a point with respect to a second point Inertial. Measure the motion of the ground relative to a suspended mass
Notes: 12

## Slide 13
TRANSDUCER
MECHANICAL
GEOPHONE
ELECTROMAGNETIC
A GALVANOMETER
BROADBAND ELECTRONIC
Notes: 13

## Slide 14
Notes: 14

## Slide 15
For a fast enough ground motion a suspended mass will remain immobile and will give us a reference point against which to measure the ground motion.
To measure the time dependence of the ground displacement on where the instrument is, using the
principle of inertia:
Notes: 15

## Slide 18
Chang Heng 132 a.c

## Slide 19
Chang Heng 132 a.c

## Slide 20
Bina 1751

## Slide 21
Cacciatore 1818

## Slide 22
Brassart 1888

## Slide 23
Brassart 1888

## Slide 24
Wiechert 1903

## Slide 26
Short period (on the left) and long period (on the right) seismograph recording instruments
Surface equipment of TRI-117 WWSSN station

## Slide 27
Wood-Anderson 1922

## Slide 28
STS 2
STS 2
STS 1
Guralp CMG 3T
STS 1

## Slide 29
Kecskemét 1911, M 5.6

## Slide 31: Friuli 1976 Ml 6.5 – Wood-Anderson

## Slide 33
Evento Lusevera 25 maggio 2002 Md: 2.5 dist.: 4 km
P
S

## Slide 34
Evento M. Nevoso 2 giugno 2002 Ml: 3.7 dist.: 101 km
P
P
S

## Slide 35
Evento Albania 28 maggio 2002 Ml: 4.4 dist.: 696 km
P
S

## Slide 36
Evento Taiwan 15 maggio 2002 Ms=6.2 dist.: 9357 km

## Slide 37
Evento Carnia 6 maggio 2002 3:23:51.754
accelerazione
accelerazione
accelerazione
velocità
velocità
velocità

## Slide 38
Evento Carnia 6 maggio 2002 3:17:31.710
Strong-motion (acceleration)
Broadband (velocity)
Strong-motion (velocity)
Strong-motion (acceleration)
Broadband (velocity)
Strong-motion (velocity)
Strong-motion (acceleration)
Broadband (velocity)
Strong-motion (velocity)

## Slide 39
Evento Carnia 6 maggio 2002 3:17:31.710
Strong-motion (acceleration)
Broadband (velocity)
Strong-motion (velocity)

## Slide 41
MECHANIC PENDULUM
U
K
D
M
The seismograph pendulum consists of a mass M hanging from a spring with a constant K and a damper with constant D in parallel.
The spring force is proportional to the displacement, the damper force instead to speed.
If is the mass displacement, the equation of motion will be:

## Slide 42
U
K
D
M
Dividing for M and introducing the quantity
We have:
From this equation we can find the groun motion and its time derivative.
Notes: 42

## Slide 43
U
K
D
M
The instrument response to the motion at a some frequency can be determined using the time dependence of the displacement due to a wave:
Assuming the same time dependence for and remembering that
We obtain the motion equation:
Notes: 43

## Slide 44
The ratio:
Is named frequency responce that is the transfer function of the instrument. It is a complex number, so it can be divided in an amplitude response and in a phase response
The amplitude response curve of an instrument shows which frequencies are amplified and good recorded and says in which frequency band the instrument are not sensible.
Notes: 44

## Slide 45
Period (s)
Displacements (m)
Notes: 45

## Slide 46
The ocean waves produce large amounts of energy to periods of around 6 s. These waves recorded by seismometers are called microsystems and dominate the ground motion at these times.
To make the instruments more sensitive to this band, were introduced two types of standard instruments.
The first is called a short period, with periods of less than 6s (typically 1s) so that records well at high frequencies. It usually has very large amplifications.
The dynamic magnification curves of the TRI-117 WWSSN station seismometer
Notes: 46

## Slide 47
The second is called in the long period, with longer periods of 6 s (typically 15 s Ts) that records good low frequency. As the inelasticity of the Earth attenuates high frequencies, the short period instruments (SP) are used to record local earthquakes, while teleseismic will be recorded well in the long period (LP) instruments.
The modern electronic filtering tecnique allow you to use a single mechanical sensor today with a high response whithin a broad band frequencies range. These instruments are called broadband.
The unwanted frequency bands can be eliminated or reduced with numeric filtering. Furthermore, the digital acquisition allows a higher dynamic bandwidth, which allows the recording of both small and large displacements of the same time series.
Notes: 47

## Slide 48
Notes: 48

## Slide 49
Fourier
amplitude spactral density
angular frequency
phase spectrum

## Slide 51
f(t)
The transient f (t) is formed by the sum of infinite harmonic terms. The amplitude of each harmonic is determined from the amplitude spectrum, while the phase shift of each harmonic is determined from the phase spectrum.

## Slide 52
The TRI-117 WWSSN Trieste station seismometers
(a)
(b)
(a): Short period Benioff seismometers; component: Z, N-S, E-W; magnification: 50000; period: 1 s.
(b): Long period Ewing-Press seismometers; component: Z, N-S, E-W; magnification: 3000; period: 15 s.

## Slide 54
Notes: 54

## Slide 55
Notes: 55

## Slide 56
Notes: 56

## Slide 60
Seismometers and “Force balance” accelerometer
The inertial force is compensated (or balanced) with a force electrically generated so as to move the mass the less possible. A small movement is still necessary otherwise the inertial force can not be observed.

## Slide 61
Balance with replacement of automatic weight
Feedback Seismometer a controreazione

## Slide 63
Suspension of La Coste
a vertical
b horizontal

## Slide 64
a Wielandt
b Streckeisen
STS 1
STS 2

## Slide 65
STS 1

## Slide 66
STS 1

## Slide 68
STS 2

## Slide 74
power
Switch for the connection to
the network for the data
transmission
Broad band sensor
3 components
backup battery
Power pack
Accelerometric sensor,
3 components
24 bits Datalogger
6 channels
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
Sensors
Acquisition system

## Slide 75
Sensors
Acquisition system
Broad band sensor
3 components
Accelerometric sensor,
3 components
Switch for the connection to
the network for the data
transmission
backup battery
Power pack
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
power
24 bits Datalogger
6 channels

## Slide 76
Sensors
Acquisition system
Broad band sensor
3 components
Accelerometric sensor,
3 components
Switch for the connection to
the network for the data
transmission
backup battery
Power pack
24 bits Datalogger
6 channels
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
power

## Slide 77
Sensors
Acquisition system
Broad band sensor
3 components
Accelerometric sensor,
3 components
Switch for the connection to
the network for the data
transmission
backup battery
Power pack
24 bits Datalogger
6 channels
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
power

## Slide 78
Sensors
Acquisition system
Broad band sensor
3 components
Accelerometric sensor,
3 components
Switch for the connection to
the network for the data
transmission
backup battery
Power pack
24 bits Datalogger
6 channels
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
power

## Slide 79
Sensors
Acquisition system
Broad band sensor
3 components
Accelerometric sensor,
3 components
Switch for the connection to
the network for the data
transmission
backup battery
Power pack
24 bits Datalogger
6 channels
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
power

## Slide 80
Sensors
Acquisition system
Broad band sensor
3 components
Accelerometric sensor,
3 components
Switch for the connection to
the network for the data
transmission
backup battery
Power pack
24 bits Datalogger
6 channels
GPS Antenna for the time syncronization
Via satellites
Disk driver for the data storage
at the station
power