## Slide 1: Cogeneration and industrial energy management (9 CFU)
Type of course Lecture: 6 hours per week / 75 h | Student workload 225 h
Learning outcomes / competencies - Students are able to define simple steady state models of basic components of energy systems. - Students are able to identify opportunity for energy saving, applying cogeneration, energy recovery and integrating renewable energy sources into industrial energy systems. - Students are able to use software for case studies. | 
Teaching methods Slide show, lecture, case studies, group work, computer laboratory.
Prerequisites for participation Fundamentals of Engineering Thermodynamics and Heat Transfer
Assessment methods Final oral exam, including the discussion of the exercise book
Responsibility for module Prof. Ing. Mauro REINI PhD - reini@units.it – ph.: 349 797 4427

## Slide 2: 1. STEADY-STATE MODELLING of industrial energy systems
Industrial Energy systems components
Pipes and nozzles
Energy conservation principle, pressure losses, Moody diagram, Mach number, sub-sonic / super-sonic nozzles, irreversibility and entropy, isentropic flow, efficiency.
Heat exchangers
T-Q diagram, e-NTU method, off-design operation.
Fluid machines and Turbomachines
Classification and operating modes, Thermodynamic cycles and the T-s diagram, Euler theorem, Turbomachines no-dimension parameters and characteristic curves.
Working fluids
Ideal gas, incompressible fluids, real fluids, mixture.
Modeling multi-component energy systems
Equation based model, EES software, module based simulation software, application to gas and steam power plants.

## Slide 3: 2. EXERGY AND THERMOECONOMIC ANALYSIS
Exergy
Exergy function definition, ambient reference, Guy-Stodola theorem,
Exergy Analysis of elementary processes, thermodynamic cycles, mixing and chemical processes,
Energy and Exergy Analysis of energy plants and production processes.
Thermoeconomics
Second low based Thermoeconomic methods, Costing of multi-product / multi-component systems,
Local optimization of plant components,
Industrial ecology.

## Slide 4: 3. INTRODUCTION TO SOLAR ENERGY SYSTEMS
Solar radiation
Photovoltaic plants
Photoelectric effect,
Solar cell materials,
Modules and plant balance.
Solar thermal system
Solar flat collectors and tubes,
Solar concentrators,
Solar thermal plants and heat storage.
Solar systems economic evaluation

## Slide 5: 4. COMBINED HEAT AND POWER (CHP)
Thermodynamic benefits of CHP
CHP systems overview and performance parameters,
Energy user’s profiles,
Environmental and economic evaluation,
Optimal operation of CHP plants with MILP Techniques,
The choice of CHP technology
Steam and Rankine CHP plants,
Gas turbine based CHP plants,
Internal combustion engine based CHP plants,
Tri-generation
Absorption cooling cycles, the p-T diagram,
Absorption chillers,
Tri-generation plants.

## Slide 6: REFERENCES
Thermal Design and Optimization
Adrian Bejan, Duke Univ.
George Tsatsaronis, Technische Univ. Berlin
Michael Moran, The Ohio State Univ.
John Wiley & Sons, c1996
EES (Engineering Equation Solver) Manual
S.A. Klein
F-Chart Software, 2009
Combined Heating, Cooling and Power Handbook
Neil Petchers
Taylor & Francis, Inc., November 2003
Fluid Mechanics and Thermodynamics of Turbomachinery
Dixon S.L.
Butterworth Heinemann, 1998
La microcogenerazione a gas naturale
E. Macchi et al.
polipress, Milano 2005
Turbine a gas e cicli combinati
G. Lozza
Progetto Leonardo, Esculapio Editore (BO) 2015