## Slide 1: Cogeneration and trigeneration:
prof. Mauro REINI
docente di sistemi per l’energia e l’ambiente
Università di Trieste – Polo di Pordenone

## Slide 2: Rankine based Cogeneration
prof. Mauro REINI
docente di sistemi per l’energia e l’ambiente
Università di Trieste – Polo di Pordenone

## Slide 3: CHP with Rankine cycles (stream power plant )

## Slide 4: Rankine cycle groups – backpressure

## Slide 5: Rankine-extraction / condensation groups

## Slide 6: Rankine-extraction / condensation groups

## Slide 7: Rankine-extraction / condensation groups
(A) defines the operating regime at which the power is 1.6MW and the flow of extracted steam is 2.0 kg/s.
At the turbine inlet, the required steam flow is 3.28 kg/s.
The corresponding Mext, min = 1.322 kg/s and emax = 1.9705 MW. These values assume that MMV = 3.28 kg/s = const.
When Mext = 0 (no extraction), the maximum electrical power at the generator terminals is 1.5MW.
For the purpose of generating the maximum electrical power of 2 MW, it is necessary to extract between about 1.5 and 3.4 kg/s and adequately increase the steam flow at the turbine inlet (lines 5-6).
If the extracted steam flow is below 1.5 kg/s, the electrical power will be below 2MW (lines 6-7).

## Slide 8: Rankine-extraction / condensation groups
The other boundaries determine the dependence of possible electrical power on the maximum steam flow at the HP turbine inlet (line 4-5)
and the increasing steam flow and power production at full extraction (without any flow in the LP Turbine – line 2-3);
at point 3 the maximum possible extracted steam flow is reached, so that line 3-4 is at constant extraction (and increasing MMV).
The operating diagram is specific for each steam turbine and is defined by its structural design.

## Slide 9: Organic Rankine Cycle - ORC

## Slide 10: Working fluids

## Slide 11: Working fluids

## Slide 12: Working fluids
Heat source temperature= 215°C

## Slide 13: Working fluids
R245fa
Heat source temperature = 215°C
TEMPERATRA FINALE = 85°C
TEMPERATRA FINALE = 150°C

## Slide 14: Working fluids

## Slide 15: Rankine cycle groups - ORC
evaporator
turbine
regenerator
condensator
Electric generator
Utenza termica
ORC Group
Diathermic Oil circuit
Heat recovery
biomass
Oil Diathermic
Water
Exhaust gas
MDM
U
.
T
.

## Slide 16: Rankine cycle groups - ORC
Using "dry" fluids you have excellent working conditions for the turbine
internal regeneration can be achieved.
Ozone Depletion Potential (ODP) null,
Relatively high flash point
T critical 250-300 ° C not too low,
cycle operating pressures not too high.
Forno
MDM
2
7
8
5
4
1

## Slide 17: Benefits of ORC technology
Technical advantages of the ORC
• High efficiency of the thermodynamic cycle;
• High efficiency of the turbine (85%);
• Low mechanical stress of the turbine, due to low peripheral speed;
• Low turbine speed, so as to allow direct connection to the electric generator without
interposition of speed reducer;
• Lack of blade erosion
of the turbine, due to the absence of
moisture in the nozzles.
Operational advantages / results
• Easy to start;
• Automatic, continuous and silent operation;
• Minimum maintenance request
• Very high reliability (Admont more than 55,000 hours of operation,
reliability> 98%);
• Partial load operation up to 10% of the nominal power;
• High efficiency even at partial load;
• Request for personnel: about 3-5
hours / week;
• Long machine life.

## Slide 18: Concept for Biomass CHP System

## Slide 20: ORC Turbo-expander

## Slide 21: ORC Turbo-expander

## Slide 22: Waste Heat Recovery

## Slide 23: Waste Heat Recovery

## Slide 24: Overview of possible applications

## Slide 25: Applications
Chart: Expansion Ratio [-]
| 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10
30-150 | 0.66029 | 0.65043 | 0.6424 | 0.63558 | 0.62973 | 0.62442 | 0.6196 | 0.61517 | 0.61106 | 0.60721 | 0.60362 | 0.60023 | 0.59704 | 0.59403 | 0.59118 | 0.58848 | 0.58592
40-130 | 0.65757 | 0.64714 | 0.63864 | 0.6314 | 0.62505 | 0.61936 | 0.61419 | 0.60947 | 0.60513 | 0.60111 | 0.59737 | 0.59387 | 0.59057
40-140 | 0.65198 | 0.64148 | 0.6329 | 0.6256 | 0.6192 | 0.61347 | 0.60827 | 0.60352 | 0.59915 | 0.5951 | 0.59135 | 0.58785 | 0.58461 | 0.58158 | 0.57873 | 0.57606
40-150 | 0.64567 | 0.63511 | 0.62646 | 0.61911 | 0.61266 | 0.60689 | 0.60165 | 0.59685 | 0.59243 | 0.58834 | 0.58454 | 0.58101 | 0.57772 | 0.57467 | 0.57184 | 0.5692 | 0.56676
60-130 | 0.62632 | 0.61404 | 0.60422 | 0.59601 | 0.58897
60-140 | 0.621 | 0.60858 | 0.59863 | 0.59031 | 0.58319 | 0.57702 | 0.57163
60-150 | 0.6149 | 0.60236 | 0.59228 | 0.58384 | 0.5766 | 0.57032 | 0.56487 | 0.56017 | 0.55617
80-130 | 0.59228 | 0.57913
80-140 | 0.58719 | 0.57372 | 0.56367
80-150 | 0.58128 | 0.56748 | 0.55713 | 0.54933
Chart: Expansion Ratio [-]
| 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10
30-150 | 0.003218 | 0.034066 | 0.054539 | 0.070259 | 0.087816 | 0.095005 | 0.099814 | 0.1028 | 0.10447 | 0.10471 | 0.10419 | 0.10299 | 0.10114 | 0.098708 | 0.095678 | 0.092308 | 0.088224
40-130 | 0.031412 | 0.055461 | 0.074359 | 0.085869 | 0.09208 | 0.094495 | 0.093853 | 0.091067 | 0.086238 | 0.079207 | 0.069855 | 0.057922 | 0.042597
40-140 | 0.032055 | 0.056486 | 0.076048 | 0.08851 | 0.095681 | 0.099048 | 0.099706 | 0.098445 | 0.095341 | 0.090454 | 0.084195 | 0.076024 | 0.066325 | 0.054318 | 0.039504 | 0.021157
40-150 | 0.032633 | 0.05745 | 0.077636 | 0.090805 | 0.098616 | 0.10297 | 0.1046 | 0.1042 | 0.10248 | 0.099176 | 0.094569 | 0.088862 | 0.081903 | 0.073721 | 0.064097 | 0.052624 | 0.039215
60-130 | 0.042174 | 0.060591 | 0.070463 | 0.069818 | 0.059321
60-140 | 0.043584 | 0.063402 | 0.075625 | 0.078643 | 0.073684 | 0.061246 | 0.039312
60-150 | 0.044739 | 0.065538 | 0.079602 | 0.085067 | 0.083708 | 0.076598 | 0.063589 | 0.043741 | 0.014125
80-130 | 0.037657 | 0.033235
80-140 | 0.042188 | 0.046836 | 0.026661
80-150 | 0.045543 | 0.055435 | 0.048782 | 0.016703
A low temperature solar thermodynamic system
total efficiency of the solar thermal collectors
efficiency of the ORC with a SCROLL expander
in the labels, the first numbers refer to the condensing temperature, the second to the maximum temperature of the cycle

## Slide 26
Possibili applicazioni
Possibili applicazioni
Applications

## Slide 27: Applications

## Slide 28: Applications

## Slide 29: Applications

## Slide 30: Applications

## Slide 31: Positive Displacement Expanders: SCROLL
SCROLL CHARACTERISTICS | 
few moving parts | 
NO valves | 
high reliability | 
reduced maintenance | 
rotation not alternating translation | 
low noise | 
low vibrations constant torque | 
adoption of seals to avoid leakage | APPLICATIONS AS A COMPRESSOR
high efficiency (65-75%) | Air conditioning (automotive)
(also for small size machines) | Refrigeration
 | Pressurization

## Slide 32: SCROLL Expanders

## Slide 33: SCROLL Expanders
Espansori per R245fa derivati da compressori (3000 rpm)

## Slide 34: SCROLL Expanders
Chart: Actual scroll
| 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5
Pressure ratio losses | 0.9816 | 0.9962 | 0.9995 | 0.994 | 0.9909 | 0.9734 | 0.9535 | 0.9337 | 0.9146 | 0.8966 | 0.8799
Heat transfers | 0.9412 | 0.9612 | 0.9672 | 0.9652 | 0.9599 | 0.9325 | 0.9037 | 0.8759 | 0.8497 | 0.8255 | 0.8034
Mech. losses | 0.792 | 0.8211 | 0.8358 | 0.8395 | 0.8377 | 0.8229 | 0.8031 | 0.7822 | 0.7615 | 0.7417 | 0.7289
Leakage losses | 0.58525 | 0.67752 | 0.71162 | 0.71341 | 0.69789 | 0.67257 | 0.64235 | 0.60939 | 0.57214 | 0.53246 | 0.49033
Chart: Modified scroll
| 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9
Pressure ratio losses | 0.95296 | 0.98296 | 0.99635 | 0.9999 | 0.9972 | 0.9911 | 0.9822 | 0.9715 | 0.9597 | 0.9468 | 0.9333
Heat transfers | 0.75812 | 0.82256 | 0.85389 | 0.86493 | 0.86169 | 0.84695 | 0.82419 | 0.79528 | 0.76105 | 0.72151 | 0.675
Mech. losses | 0.61719 | 0.70945 | 0.76442 | 0.79455 | 0.80115 | 0.79397 | 0.77739 | 0.75361 | 0.72373 | 0.68793 | 0.64603
Leakage losses | 0.56994 | 0.61609 | 0.64103 | 0.64868 | 0.6452 | 0.62817 | 0.60377 | 0.57331 | 0.53742 | 0.49601 | 0.44865
actual and modified scroll losses and isentropic efficiency
(fluid: R245fa, Tcond=40°C, speed=3000 rpm)

## Slide 35: SCROLL Expanders
Chart: Expansion Ratio [-]
| 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5
actual scroll | 0.28175 | 0.45442 | 0.62969 | 0.79759 | 0.95537 | 1.1002 | 1.2323 | 1.3512 | 1.4484 | 1.5248 | 1.5766
modified scroll | 0.7079 | 0.92006 | 1.126 | 1.3277 | 1.5203 | 1.6853 | 1.8282 | 1.9449 | 2.0303 | 2.0769 | 2.0742
actual and modified scroll net power
(fluid: R245fa, Tcond=40°C, speed=3000 rpm)

## Slide 36: Positive Displacement Expanders: Screw

## Slide 37: Espansori volumetrici: VITE

## Slide 38: Positive Displacement Expanders: Pros
they allow the admission of wet steam. This may increase the cycle efficiency (NOT regenerative) and reduces the cost of the heat exchangers.
they allow direct coupling to the generator, thus reducing transmission losses.
On the other hand, the volumetric expander is less efficient than a turbine.
the screw expander with optimized rotors can be lubricated by the working fluid itself, with reduced traces of oil.
the volumetric expanders can be produced by slightly modifying a mass-produced compressor of the same type, with a small additional cost.
The result is that, even if small powers and low temperature differences are available, ORC systems is expected to be produced cost-effectively.

## Slide 39: Positive Displacement Expanders: Pros

## Slide 40: Positive Displacement Expanders: 50kW unit

## Slide 41: Possible integrations of domestic micro cogeneration

## Slide 42: Rankine cycle micro-groups
Inergen - System
2.5 kW Electric

## Slide 43: Possible domestic micro cogenerators

## Slide 44: Possible domestic micro cogenerators

## Slide 45: Conversion efficiency of micro cogeneration systems
Stirling engines
& ORC Groups
micro-motors a
Internal combustion
he=15%
Even he low allow positive PES,
If the use of heat is extensive or complete(even> 100%)!

## Slide 46: Returns of some cogeneration technologies

## Slide 47: Environmental performance of some cogeneration technologies

## Slide 48: Cogeneration and trigeneration
prof. Mauro REINI
docente di sistemi per l’energia e l’ambiente
Università di Trieste – Polo di Pordenone
Thanks for the attention