## Slide 1
Quantitative optical microscopy
Gabriele Baj
gbaj@units.it

## Slide 2
What is quantitative microscopy ?

## Slide 3
Deriving quantitative information from images of biological samples

## Slide 4
Measurements should be objective, not influenced by human interpretation

## Slide 5
Algorithms must be reliable. Visualization helps gaining trust in methods

## Slide 6
Quantitative microscopy is supposed to be:

## Slide 7
In light microscopy :
Magnifying is not seeing
Seeing is not science (numbers)
Image analysis is part of the experiment
few small “memento”….

## Slide 8
Image analysis is part of the experiment
Think about how to analyze your images before starting the experiment.
Consider adapting your experiment so that quantitative image analysis can be performed easily.
Think about controls, counter-proves, an easy to falsify null-hypothesis.
Be a lazy scientist. Do simple experiments.
How can you exclude yourself from the experiment?
Think of blinding yourself or fully automate analysis.
One experiment usually answers just one or less questions.

## Slide 9
Common questions in quantitative microscopy
Numbers (particles, spots, nuclei. etc)
Morphometry (length, Feret diameters, roundness, etc)
Densitometry (intensity base analysis on fluorophores)
Colocalization
Live imaging & tracking
Must have characteristics of the image

## Slide 34: Wide-field vs. confocal vs. 2-photon
Drawing by P. D. Andrews, I. S. Harper and J. R. Swedlow

## Slide 35: Resolvable volumes obtained with current commercial super-resolution microscopes.
Schermelleh, Lothar, Rainer Heintzmann, and Heinrich Leonhardt. 2010. “A guide to super-resolution fluorescence microscopy.” The Journal of Cell Biology 190 (2) (July 26): 165 -175. doi:10.1083/jcb.201002021.
Notes: Resolvable volumes obtained with current commercial super-resolution microscopes. A schematic 3D representation of focal volumes is shown for the indicated emission maxima. The approximate lateral (x,y) and axial (z) resolution and resolvable volumes are listed. Note that STED/CW-STED and 3D-SIM can reach up to 20 µm into the sample, whereas PALM/STORM is usually confined to the evanescent wave field near the sample bottom. It should be noted that deconvolution approaches can further improve STED resolution. For comparison the “focal volume” for PALM/STORM was estimated based on the localization precision in combination with the z-range of TIRF. These indications do not necessarily constitute actual resolution as many other effects (e.g., fluorophore orientation, local refractive index variations, flatfield quality of the camera, local aberrations, and statistical selection bias) influence image quality and final resolution.

## Slide 36
Which imaging technique should I use?
Sample Thickness
Wide-field (+deconvolution)
Point scanning Confocal
2-photon confocal
TIRF (for samples at the coverslip)
Spinning Disk Confocal
Line-scanning confocal
1-5 mm
1-20 mm
10-100 mm
>20 mm
>50-100 mm
Sensitivity
Fast
Slow

## Slide 37
SAMPLE
colored
(i.e. histological staining)
Brightfield
Transparent
live
fixed
live
fixed
phase
contrast
DIC
Nomarsky
polarization
Fluorescent

## Slide 38
SAMPLE fluorescent
live
fixed
“Slim”
“Thick”
epifluo
Confocal
Spinning disk/LSM
Structured illumination
/Light sheet
STED
“Thick”
“Slim”
epifluo
Confocal
Spinning disk/LSM
Structured illumination
/Light sheet
STED
TIRF
Confocal
2 photon
/LSM
Structured illumination
/Light sheet
STORM
/ PALM
Please consider the single techniques limitations!

## Slide 39
Quantitative microscopy : terminology
Images and pixels
•An image is just a matrix of numbers
•Pixel: “picture element”
•The edges between pixels are an artefact. In reality, they don’t exist!

## Slide 40
Pixel size versus resolution
• Resolution is a property of your imaging system.
• The measure of how close object can be in an image while still being differentiable, is called spatial resolution..

## Slide 41
Lookup tables
• The lookup table decides how the image is displayed on screen.
• Applying a different lookup table doesn’t change the image.
All pixel values stay the same, they just appear differently

## Slide 45
few small “memento”….about fluorescence

## Slide 46
Key Stages in Digital Image Processing
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 47
Key Stages in Digital Image Processing: Image Aquisition
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 48
Key Stages in Digital Image Processing: Image Enhancement
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 49
Key Stages in Digital Image Processing: Image Restoration
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 50
Key Stages in Digital Image Processing: Morphological Processing
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 51
Key Stages in Digital Image Processing: Segmentation
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 52
Key Stages in Digital Image Processing: Object Recognition
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 53
Key Stages in Digital Image Processing: Representation & Description
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 54
Key Stages in Digital Image Processing: Image Compression
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 55
Key Stages in Digital Image Processing: Colour Image Processing
Image Acquisition
Image Restoration
Morphological Processing
Segmentation
Representation & Description
Image Enhancement
Object Recognition
Problem Domain
Colour Image Processing
Image Compression

## Slide 56
https://imagej.net/software/fiji/downloads
NEXT LECTURE

## Slide 57
2021 - Light microscopy in Cellular Biology
Further Information
Websites:
Molecular Expresssions: Exploring the World of Optics and Microscopy: http://microscopy.fsu.edu/
Confocal Microscope Company Websites:
Education in Microscopy and Digital Imaging, Carl Zeiss MicroImaging, LLC: http://zeiss-campus.magnet.fsu.edu/
Microscopy Resource Center, Olympus America Inc.: http://www.olympusmicro.com/
Microscopy U, Nikon Instruments, Inc.: http://www.microscopyu.com/
Leica Microsystems Inc.: http://www.leica-microsystems.com/
Other Company Websites:
Fluorescence Labels: www.probes.com
Fluorescent proteins: www.clontech.com
Living cell microscopy supplies: www.ibidi.com
Non Commercial Websites:
The Cell, An Image Library: http://cellimagelibrary.org/
Cell Migration Gateway: http://www.cellmigration.org/
Non-profit plasmid repository: http://www.addgene.org/
List Servers:
Confocal Microscopy: http://lists.umn.edu/cgi-bin/wa?A0=confocalmicroscopy
Multi-Photon Laser Scanning Microscopy: http://tech.groups.yahoo.com/group/mplsm-users/
Image Processing and Analysis in Java (ImageJ): http://rsbweb.nih.gov/ij/index.html
Contact the author: Stephen Lockett, locketts@mail.nih.gov

## Slide 59
Image filtering

## Slide 60
Filters

## Slide 61: Effects harming image quality

## Slide 62
Noise

## Slide 63: Image correction / noise removal

## Slide 64: Image correction / noise removal

## Slide 65
Linear Filters

## Slide 66
Linear Filters

## Slide 67
Linear Filters

## Slide 68
Background removal

## Slide 69
Background removal

## Slide 70
Background removal

## Slide 71
Background removal

## Slide 72
Mathematical operations on images

## Slide 73
Mathematical operations on images

## Slide 74
Mathematical operations on images

## Slide 75
Difference-of-Gaussian (DoG)

## Slide 76
Difference-of-Gaussian (DoG)

## Slide 77
NON Linear Filters

## Slide 78
NON Linear Filters

## Slide 79
Laplace-filter

## Slide 80
Laplacian-of-Gaussian (LoG)

## Slide 81: Image Segmentation

## Slide 82
Segmentation and labelling

## Slide 83
Pre-processing

## Slide 84
Thresholding

## Slide 85
Low-pass filtering to improve thresholding results

## Slide 86
Refining masks

## Slide 88
Refining masks

## Slide 89
Refining masks

## Slide 90
Refining masks

## Slide 91
The particle analyzer

## Slide 92: Colocalization http://fiji.sc/Colocalization_- _hardware_setup_and_image_acquisition

## Slide 93
Colocalisation/Correlation?
Think about the biology!
What is the biological/biochemical question?
Are you looking for Co-Compartmentalisation?
Are you looking for exclusion / anti correlation?
Are you looking for interacting molecules?
Then you must also do biochemsitry
  (Immuno Co-precip, Fluo Correlation Spectroscopy)
  FRET / FLIM might be very informative

## Slide 94
Colocalization

## Slide 95
BLUR
Background and NOISE
Colocalization

## Slide 96
“Colocalisation” covers two qualitatively different conditions:
1) that objects have both
fluorophores present
(Object Based Coloc)
Segmentation needed.
Biology?
2) there is some relationship
between the intensities of
the fluorophores in a pixel.
(Pixel Intensity Based Coloc)
Interaction - BioChemistry?

## Slide 97
2 fluorophores are there in a pixel
Binary information
Is it Random?
Is it Real?
Little or no biological meaning?
…unless you are confident about how to segment objects out from the background.

## Slide 98
Definition of Terms
“Concurrence” = “co-presence” “there is red and green”
“Colocalisation” = Relationship between channel intensities
  Eg. “Red is only found with Green”
Special case - “Correlation”
Intensity Correlation over Space

## Slide 99
2 objects overlap
Binary information
No intensity information
Concurrence?
Image Segmentation!
Biological Meaning?
Colocalisation is #1

## Slide 100
Colocalisation is #2
Some objects appear to
overlap
with another object
Binary information
No intensity information
Colocalisation?
Biological Meaning?

## Slide 101
Colocalisation is: #3
Intensity profiles overlap
Image “Correlation”
Biological Meaning?
Co-compartmentalisation?
Physical interaction?

## Slide 102
Colocalisation/Correlation -Think about:
Are your “objects” smaller than optical resolution?
  Vesicles? Small Organelles?
  Check channel overlap with sub resolution beads!
Are your objects large?
  Large single homogenous blobs?
  Large reticular networks / membranes
  Resolution required?
Complementary “correlation” methods
  Fluorescence correlation spectroscopy (FCS in live cells)
  Flow Cytometry? Multiple markers in a cell. Good stats.

## Slide 103
Colour Merge Images = Bad
… so what should I do instead?
“Colocalisation Analysis”
Statistical Significance of Colocalisation
  Single image - random / insignificant.
  Statistical P value (significance), Manders coefficients, and
  Scatter Plot. (ImageJ, BioImageXD, Huygens and others)
But remember…
  Don’t merge projections of stacks (you lose 3D info, false coloc)
  Don’t believe your eyes, they lie.