## Slide 1
X-ray sources
X-ray tubes
Synchrotron
Used to investage the structure of materials
Small size
Economic
Lab-scale instruments
Small size
Economic
Lab-scale instruments
Tunable
Multi-technique experiments
Large Scale Facility
Limited access for experiments

## Slide 2
X-ray tubes
0.02
0.04
0.06
0.08
0.10
Wavelength (nm)
Intensity (a. u.)
Kb
Ka
min
Characteristic
radiation
Bremsstrahlung
radiation
The spectrum from an X-ray tube has discrete fluorescent lines superimposed on
the continuous bremsstrahlung radiation
Anode
Vacuum tube
Cathode
Electrons
HV
Filament supply
X-rays

## Slide 3
X-ray tubes
l in Å ; E in keV ; V in kV

## Slide 4
X-ray tubes

## Slide 5: Energy Dissipation

## Slide 6
Radiation angular distribution (a) electrons travelling at low speed and
(b) electrons travelling at relativistic speed (g = (1-v2/c2)-1/2  10000 at ESRF)
Synchrotron radiation angular distribution
Electron orbit
Acceleration
v << c
v  c
Electron orbit
Acceleration
e-
e-
Q  m0c2/E
= 1/g rad
m0 = electron mass
v = electron velocity
E = electron energy
c = velocity of light
v
v

## Slide 7
Synchrotron radiation – Spectral brightness

## Slide 8
= radius of curvature

## Slide 9
Elettra
SOLEIL

## Slide 10: How a Storage Ring Works
Booster
Electron source
LINAC
Front-end
Optical hutch
Experimental
hutch

## Slide 11
Elettra: 260m
SOLEIL: 354m
ESRF: 844m
Storage ring

## Slide 12
Emission from a bending magnet

## Slide 13
Insertion devices

## Slide 14
Time structure
t
I
1ms
100 ps
e-
e-
e-
e-
Time pulsed emission is interesting for studying rapid reactions
Light pulses

## Slide 15
Imaging
Detector
X-rays
Detector
Sample
X-rays
Absorption
8800
0.0
8800
9000
9200
9400
9600
9800
10000
1.0
2.0
E (eV)
9000
9200
9400
9600
9800
10000
Energy
m
X-rays
Sample
I
wavelength
Elemental analysis
Detector
Fluorescence
X-rays
Sample
Detector
Diffraction
Types of experiments